Product Type: JC G4

Product Information Abbrev. With Packing Info. JC G4 12V 20W Bulb JC Nominal Voltage(v) 12 Nominal Wattage(w) ± 10% 19.3 Approx. Lumens± 10% 173 Approx. Lux Average Rated Life(hr) 2000 Base G4 Beam Angle (deg) ± 8 Beam Type Color Rendering index(CRI) 98 Color Temperature/CCT(k) 2750-2850 Diameter(in) 0.31 Diameter(mm) 8 Horizontal Beam Angle (deg) Maximum Overall Length-MOL(in) 1.19 Maximum Overall Length-MOL(mm) ±10 30 Centerbeam Candlepower(cbcp) ±25% Vertical Beam Angle(deg) ±8

Abbrev. With Packing Info. JC G4 12V 10W Bulb JC Nominal Voltage(v) 12 Nominal Wattage(w) ± 10% 9.3 Approx. Lumens± 10% 68 Approx. Lux Average Rated Life(hr) 2000 Base G4 Beam Angle ± 8%(deg) Beam Type Color Rendering index(CRI) 98 Color Temperature/CCT(k) 2750-2850 Diameter(in) 0.31 Diameter(mm) 8 Horizontal Beam Angle (deg) ±10 Maximum Overall Length-MOL(in) 1.16 Maximum Overall Length-MOL(mm) ±10 30 Centerbeam Candlepower(cbcp) ±25% Vertical Beam Angle(deg) ±8