LU50/ED17/MED

ANSI Designation ：S68

Performance Data Light Output (Lumens@100Hrs.) 3400lm Lamp Lumens Per Watt 80lm/W Rated Life(Hrs.@ 10 Hr.I Start) 12000hrs Correlated Color Temperature K 2000K Color Rendering Index(CRI) Typical Warm Up Time(Minutes) 3-5 Typical Hot Restart Time(Minutes) 8-12 Burning Position UNIVERSAL

Physical Data/Requirements Base Designation E26 Bulb Designation ED17 Bulb Diameter 54mm Max. Overall Length (MOL) 138mm Light Center Length(LCL) 87±5mm Max Base Temperature 210℃ Max.Bulb Temperature 400℃ Luminaire Type MNCLOSED Socket Style MED Electrical Data/Requirements Lamp Wattage 50W Operating Voltage 42~65V Operating Current(Amps) 1.18A Packing size: Description of goods Quantity/ctn Measurement (cm) G.W. N.W. LU50/ED17/MED 12 10*7*7.5 in 3.31 2.75 ce 1.80A 95DIUM