MH150/ED28/U/PS/4K (10)

ANSI Designation ：M102

Performance Data Light Output(Lumens@100Hrs.) 13500lm Lamp Lumens Per Watt 90lm/W Rated Life(Hrs.@ 10 Hr.I Start) 6000hrs Correlated Color Temperature K 4000K Color Rendering Index(CRI) 65 Typical Warm Up Time(Minutes) 3-5 Typical Hot Restart Time(Minutes) 8-12 Burning Position UNIVERSAL

Physical Data/Requirements Base Designation E39 Bulb Designation ED28 Bulb Diameter 54mm Max. Overall Length (MOL) 228mm Light Center Length(LCL) 130±5mm Max Base Temperature 190℃ Max.Bulb Temperature 400℃ Luminaire Type MNCLOSED Socket Style MOGUL Electrical Data/Requirements Lamp Wattage 150W Operating Voltage 85~105V Operating Current(Amps) 1.80A Packing size: Description of goods Quantity/ctn Measurement (cm) G.W. N.W. MH150/ED28/U/PS/4K 12 15.4*11.8*10.2 in 1.2 0.8 ce 1.80A 95DIUM